## relative
test_id | case | baseline | ref_min | ref_max | should_pass | notes | test_group | abs_test | cal | in_range | expected | peak_heating_load | peak_heating_load_month | peak_heating_load_day | peak_heating_load_hour | peak_cooling_load | peak_cooling_load_month | peak_cooling_load_day | peak_cooling_load_hour | temperature_setpoint_avg_hr | temperature_setpoint_min | temperature_setpoint_min_month | temperature_setpoint_min_day | temperature_setpoint_min_hr | temperature_setpoint_max | temperature_setpoint_max_month | temperature_setpoint_max_day | temperature_setpoint_max_hr
1 | 600H |  | 3.75 | 4.98 | TRUE | Base case: low mass | Thermal Fabric Low Mass | TRUE | 4.3369 | TRUE | TRUE | 3.3345 | Dec | 31 | 24 | 5.202 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
2 | 610H | 600H | -0.14 | 0.29 | TRUE | South shade (overhang) | Thermal Fabric Low Mass | FALSE | 0.063118 | TRUE | TRUE | 3.3345 | Dec | 31 | 24 | 4.0138 | Oct | 18 | 14 | 23.0321 | -10.7953 | Feb | 9 | 7 | 51.1766 | Sep | 11 | 16
3 | 620H | 600H | -0.08 | 0.4 | TRUE | East/west windows | Thermal Fabric Low Mass | FALSE | 0.28316 | TRUE | TRUE | 3.3482 | Dec | 31 | 24 | 4.3472 | Jun | 26 | 17 | 21.8983 | -11.3824 | Feb | 9 | 6 | 59.277 | Jun | 26 | 18
4 | 630H | 620H | 0.02 | 0.74 | TRUE | East/west shade | Thermal Fabric Low Mass | FALSE | 0.24091 | TRUE | TRUE | 3.349 | Dec | 31 | 24 | 3.8132 | Jun | 26 | 17 | 20.3623 | -11.5966 | Feb | 9 | 6 | 55.2539 | Jun | 26 | 18
5 | 640H | 600H | -2.17 | -1.22 | TRUE | Thermostat setback | Thermal Fabric Low Mass | FALSE | -1.1918 | FALSE | FALSE | 5.6172 | Nov | 26 | 8 | 5.1537 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
6 | 660H | 600H | -1.07 | -0.16 | TRUE | Low-emissivity windows | Thermal Fabric Low Mass | FALSE | -0.63558 | TRUE | TRUE | 2.8153 | Dec | 31 | 24 | 3.1324 | Oct | 18 | 14 | 21.9064 | -10.2849 | Feb | 9 | 7 | 48.2957 | Sep | 11 | 16
7 | 670H | 600H | 0.25 | 2.98 | TRUE | Single-pane windows | Thermal Fabric Low Mass | FALSE | 1.9256 | TRUE | TRUE | 4.4087 | Dec | 31 | 24 | 6.035 | Oct | 18 | 14 | 23.0418 | -12.4893 | Feb | 9 | 6 | 59.2611 | Oct | 1 | 15
8 | 680H | 600H | -2.54 | -1.9 | TRUE | Increased insulation | Thermal Fabric Low Mass | FALSE | -2.5089 | TRUE | TRUE | 2.1493 | Jan | 1 | 1 | 5.3841 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
9 | 685H | 600H | 0.33 | 0.77 | TRUE | 20-20 Tstat | Thermal Fabric Low Mass | FALSE | 0.65302 | TRUE | TRUE | 3.3441 | Dec | 31 | 24 | 5.8965 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
10 | 695H | 685H | -2.38 | -1.94 | TRUE | Increased insulation + 20-20 Tstat | Thermal Fabric Low Mass | FALSE | -2.341 | TRUE | TRUE | 2.1493 | Jan | 1 | 1 | 5.9546 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
11 | 600C |  | 5 | 6.83 | TRUE | Base case: low mass | Thermal Fabric Low Mass | TRUE | 5.4974 | TRUE | TRUE | 3.3345 | Dec | 31 | 24 | 5.202 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
12 | 610C | 600C | -2.26 | -0.8 | TRUE | South shade (overhang) | Thermal Fabric Low Mass | FALSE | -1.2932 | TRUE | TRUE | 3.3345 | Dec | 31 | 24 | 4.0138 | Oct | 18 | 14 | 23.0321 | -10.7953 | Feb | 9 | 7 | 51.1766 | Sep | 11 | 16
13 | 620C | 600C | -2.24 | -1.64 | TRUE | East/west windows | Thermal Fabric Low Mass | FALSE | -1.8439 | TRUE | TRUE | 3.3482 | Dec | 31 | 24 | 4.3472 | Jun | 26 | 17 | 21.8983 | -11.3824 | Feb | 9 | 6 | 59.277 | Jun | 26 | 18
14 | 630C | 620C | -1.68 | -0.77 | TRUE | East/west shade | Thermal Fabric Low Mass | FALSE | -0.83517 | TRUE | TRUE | 3.349 | Dec | 31 | 24 | 3.8132 | Jun | 26 | 17 | 20.3623 | -11.5966 | Feb | 9 | 6 | 55.2539 | Jun | 26 | 18
15 | 640C | 600C | -0.56 | 0.03 | TRUE | Thermostat setback | Thermal Fabric Low Mass | FALSE | -0.255 | TRUE | TRUE | 5.6172 | Nov | 26 | 8 | 5.1537 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
16 | 650C | 600C | -1.54 | -0.95 | TRUE | Night ventilation | Thermal Fabric Low Mass | FALSE | -1.4417 | TRUE | TRUE | 0 | Jan | 1 | 1 | 5.0964 | Oct | 18 | 14 | 17.5238 | -17.1882 | Dec | 31 | 24 | 56.9298 | Oct | 1 | 15
17 | 660C | 600C | -3.09 | -2.5 | TRUE | Low-emissivity windows | Thermal Fabric Low Mass | FALSE | -2.7008 | TRUE | TRUE | 2.8153 | Dec | 31 | 24 | 3.1324 | Oct | 18 | 14 | 21.9064 | -10.2849 | Feb | 9 | 7 | 48.2957 | Sep | 11 | 16
18 | 670C | 600C | 0.05 | 0.84 | TRUE | Single-pane windows | Thermal Fabric Low Mass | FALSE | 0.70655 | TRUE | TRUE | 4.4087 | Dec | 31 | 24 | 6.035 | Oct | 18 | 14 | 23.0418 | -12.4893 | Feb | 9 | 6 | 59.2611 | Oct | 1 | 15
19 | 680C | 600C | 0.13 | 0.87 | TRUE | Increased insulation | Thermal Fabric Low Mass | FALSE | 0.42634 | TRUE | TRUE | 2.1493 | Jan | 1 | 1 | 5.3841 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
20 | 685C | 600C | 2.7 | 3.31 | TRUE | 20-20 Tstat | Thermal Fabric Low Mass | FALSE | 3.3582 | FALSE | FALSE | 3.3441 | Dec | 31 | 24 | 5.8965 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
21 | 695C | 685C | -0.21 | 0.44 | TRUE | Increased insulation + 20-20 Tstat | Thermal Fabric Low Mass | FALSE | 0.019142 | TRUE | TRUE | 2.1493 | Jan | 1 | 1 | 5.9546 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
22 | 900H |  | 1.04 | 2.28 | TRUE | Base case: high mass | Thermal Fabric High Mass | TRUE | 1.7291 | TRUE | TRUE | 2.7632 | Feb | 9 | 6 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
23 | 910H | 900H | 0.02 | 0.52 | TRUE | South shade (overhang) | Thermal Fabric High Mass | FALSE | 0.14171 | TRUE | TRUE | 2.7636 | Feb | 9 | 6 | 2.2678 | Sep | 11 | 14 | 23.3655 | 2.8641 | Feb | 9 | 7 | 39.1504 | Sep | 11 | 15
24 | 920H | 900H | 1.51 | 1.92 | TRUE | East/west windows | Thermal Fabric High Mass | FALSE | 1.7634 | TRUE | TRUE | 2.8461 | Feb | 9 | 6 | 2.9755 | Jun | 26 | 17 | 22.0067 | -1.024 | Feb | 9 | 7 | 44.2716 | Jun | 27 | 17
25 | 930H | 920H | 0.2 | 1.15 | TRUE | East/west shade | Thermal Fabric High Mass | FALSE | 0.46977 | TRUE | TRUE | 2.8706 | Feb | 9 | 6 | 2.5956 | Jun | 26 | 17 | 20.4636 | -1.7937 | Feb | 9 | 7 | 41.6316 | Jun | 27 | 17
26 | 940H | 900H | -0.82 | -0.37 | TRUE | Thermostat setback | Thermal Fabric High Mass | FALSE | -0.37004 | TRUE | TRUE | 4.1637 | Feb | 9 | 8 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
27 | 960H | 900H | 0.96 | 1.12 | TRUE | Sunspace | Thermal Fabric High Mass | FALSE | 1.0437 | TRUE | TRUE | 2.2882 | Feb | 9 | 6 | 1.9923 | Jun | 26 | 17 | 19.7806 | -4.265 | Feb | 9 | 8 | 39.9886 | Jun | 26 | 19
28 | 980H | 900H | -1.65 | -1 | TRUE | Increased insulation | Thermal Fabric High Mass | FALSE | -1.4397 | TRUE | TRUE | 2.1659 | Jan | 1 | 1 | 2.9469 | Oct | 18 | 14 | 31.69 | 13.5664 | Jan | 1 | 8 | 50.0512 | Sep | 12 | 15
29 | 985H | 900H | 0.64 | 0.81 | TRUE | 20-20 Tstat | Thermal Fabric High Mass | FALSE | 0.94632 | FALSE | FALSE | 2.7665 | Feb | 9 | 6 | 3.521 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
30 | 995H | 985H | -1.83 | -1.07 | TRUE | Increased insulation + 20-20 Tstat | Thermal Fabric High Mass | FALSE | -1.4813 | TRUE | TRUE | 2.0514 | Jan | 1 | 1 | 3.9217 | Jan | 22 | 13 | 31.6573 | 12.7653 | Feb | 9 | 7 | 52.2454 | Sep | 12 | 14
31 | 900C |  | 2.35 | 2.6 | TRUE | Base case: high mass | Thermal Fabric High Mass | TRUE | 2.3568 | TRUE | TRUE | 2.7632 | Feb | 9 | 6 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
32 | 910C | 900C | -1.74 | -0.35 | TRUE | South shade (overhang) | Thermal Fabric High Mass | FALSE | -0.82086 | TRUE | TRUE | 2.7636 | Feb | 9 | 6 | 2.2678 | Sep | 11 | 14 | 23.3655 | 2.8641 | Feb | 9 | 7 | 39.1504 | Sep | 11 | 15
33 | 920C | 900C | 0.08 | 0.48 | TRUE | East/west windows | Thermal Fabric High Mass | FALSE | 0.11878 | TRUE | TRUE | 2.8461 | Feb | 9 | 6 | 2.9755 | Jun | 26 | 17 | 22.0067 | -1.024 | Feb | 9 | 7 | 44.2716 | Jun | 27 | 17
34 | 930C | 920C | -1.19 | -0.44 | TRUE | East/west shade | Thermal Fabric High Mass | FALSE | -0.59343 | TRUE | TRUE | 2.8706 | Feb | 9 | 6 | 2.5956 | Jun | 26 | 17 | 20.4636 | -1.7937 | Feb | 9 | 7 | 41.6316 | Jun | 27 | 17
35 | 940C | 900C | -0.19 | 0.06 | TRUE | Thermostat setback | Thermal Fabric High Mass | FALSE | -0.042356 | TRUE | TRUE | 4.1637 | Feb | 9 | 8 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
36 | 950C | 900C | -2 | -1.56 | TRUE | Night ventilation | Thermal Fabric High Mass | FALSE | -1.7847 | TRUE | TRUE | 0 | Jan | 1 | 1 | 2.2443 | Sep | 11 | 14 | 14.7053 | -12.357 | Dec | 31 | 24 | 35.4683 | Jun | 26 | 18
37 | 960C | 900C | -1.81 | -1.27 | TRUE | Sunspace | Thermal Fabric High Mass | FALSE | -1.5558 | TRUE | TRUE | 2.2882 | Feb | 9 | 6 | 1.9923 | Jun | 26 | 17 | 19.7806 | -4.265 | Feb | 9 | 8 | 39.9886 | Jun | 26 | 19
38 | 980C | 900C | 1.09 | 1.41 | TRUE | Increased insulation | Thermal Fabric High Mass | FALSE | 1.1998 | TRUE | TRUE | 2.1659 | Jan | 1 | 1 | 2.9469 | Oct | 18 | 14 | 31.69 | 13.5664 | Jan | 1 | 8 | 50.0512 | Sep | 12 | 15
39 | 985C | 900C | 3.52 | 4.18 | TRUE | 20-20 Tstat | Thermal Fabric High Mass | FALSE | 4.2311 | FALSE | FALSE | 2.7665 | Feb | 9 | 6 | 3.521 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
40 | 995C | 985C | 0.63 | 1.15 | TRUE | Increased insulation + 20-20 Tstat | Thermal Fabric High Mass | FALSE | 0.69645 | TRUE | TRUE | 2.0514 | Jan | 1 | 1 | 3.9217 | Jan | 22 | 13 | 31.6573 | 12.7653 | Feb | 9 | 7 | 52.2454 | Sep | 12 | 14
41 | 600FFH | 600H |  |  | TRUE | Base | Free-float Low Mass | FALSE | 0 |  |  | 3.3345 | Dec | 31 | 24 | 5.202 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
42 | 650FFH | 650H |  |  | TRUE | Night ventilation | Free-float Low Mass | FALSE | 0 |  |  | 0 | Jan | 1 | 1 | 5.0964 | Oct | 18 | 14 | 17.5238 | -17.1882 | Dec | 31 | 24 | 56.9298 | Oct | 1 | 15
43 | 680FFH | 680H |  |  | TRUE | Increased insulation | Free-float Low Mass | FALSE | 0 |  |  | 2.1493 | Jan | 1 | 1 | 5.3841 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
44 | 900FFH | 900H |  |  | TRUE | Base | Free-float High Mass | FALSE | 0 |  |  | 2.7632 | Feb | 9 | 6 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
45 | 950FFH | 950H |  |  | TRUE | Night ventilation | Free-float High Mass | FALSE | 0 |  |  | 0 | Jan | 1 | 1 | 2.2443 | Sep | 11 | 14 | 14.7053 | -12.357 | Dec | 31 | 24 | 35.4683 | Jun | 26 | 18
46 | 980FFH | 980H |  |  | TRUE | Increased insulation | Free-float High Mass | FALSE | 0 |  |  | 2.1659 | Jan | 1 | 1 | 2.9469 | Oct | 18 | 14 | 31.69 | 13.5664 | Jan | 1 | 8 | 50.0512 | Sep | 12 | 15
47 | 600FFC | 600C |  |  | TRUE | Base | Free-float Low Mass | FALSE | 0 |  |  | 3.3345 | Dec | 31 | 24 | 5.202 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
48 | 650FFC | 650C |  |  | TRUE | Night ventilation | Free-float Low Mass | FALSE | 0 |  |  | 0 | Jan | 1 | 1 | 5.0964 | Oct | 18 | 14 | 17.5238 | -17.1882 | Dec | 31 | 24 | 56.9298 | Oct | 1 | 15
49 | 680FFC | 680C |  |  | TRUE | Increased insulation | Free-float Low Mass | FALSE | 0 |  |  | 2.1493 | Jan | 1 | 1 | 5.3841 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
50 | 900FFC | 900C |  |  | TRUE | Base | Free-float High Mass | FALSE | 0 |  |  | 2.7632 | Feb | 9 | 6 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
51 | 950FFC | 950C |  |  | TRUE | Night ventilation | Free-float High Mass | FALSE | 0 |  |  | 0 | Jan | 1 | 1 | 2.2443 | Sep | 11 | 14 | 14.7053 | -12.357 | Dec | 31 | 24 | 35.4683 | Jun | 26 | 18
52 | 980FFC | 980C |  |  | TRUE | Increased insulation | Free-float High Mass | FALSE | 0 |  |  | 2.1659 | Jan | 1 | 1 | 2.9469 | Oct | 18 | 14 | 31.69 | 13.5664 | Jan | 1 | 8 | 50.0512 | Sep | 12 | 15

## absolute
test_id | case | baseline | ref_min | ref_max | should_pass | notes | test_group | abs_test | cal | in_range | expected | peak_heating_load | peak_heating_load_month | peak_heating_load_day | peak_heating_load_hour | peak_cooling_load | peak_cooling_load_month | peak_cooling_load_day | peak_cooling_load_hour | temperature_setpoint_avg_hr | temperature_setpoint_min | temperature_setpoint_min_month | temperature_setpoint_min_day | temperature_setpoint_min_hr | temperature_setpoint_max | temperature_setpoint_max_month | temperature_setpoint_max_day | temperature_setpoint_max_hr
1 | 600H |  | 3.75 | 4.98 | TRUE | Base case: low mass | Thermal Fabric Low Mass | TRUE | 4.3369 | TRUE | TRUE | 3.3345 | Dec | 31 | 24 | 5.202 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
2 | 610H | 600H | 3.61 | 5.27 | TRUE | South shade (overhang) | Thermal Fabric Low Mass | TRUE | 4.4 | TRUE | TRUE | 3.3345 | Dec | 31 | 24 | 4.0138 | Oct | 18 | 14 | 23.0321 | -10.7953 | Feb | 9 | 7 | 51.1766 | Sep | 11 | 16
3 | 620H | 600H | 3.67 | 5.38 | TRUE | East/west windows | Thermal Fabric Low Mass | TRUE | 4.62 | TRUE | TRUE | 3.3482 | Dec | 31 | 24 | 4.3472 | Jun | 26 | 17 | 21.8983 | -11.3824 | Feb | 9 | 6 | 59.277 | Jun | 26 | 18
4 | 630H | 620H | 3.69 | 6.12 | TRUE | East/west shade | Thermal Fabric Low Mass | TRUE | 4.8609 | TRUE | TRUE | 3.349 | Dec | 31 | 24 | 3.8132 | Jun | 26 | 17 | 20.3623 | -11.5966 | Feb | 9 | 6 | 55.2539 | Jun | 26 | 18
5 | 640H | 600H | 1.58 | 3.76 | TRUE | Thermostat setback | Thermal Fabric Low Mass | TRUE | 3.1451 | TRUE | TRUE | 5.6172 | Nov | 26 | 8 | 5.1537 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
6 | 660H | 600H | 2.68 | 4.82 | TRUE | Low-emissivity windows | Thermal Fabric Low Mass | TRUE | 3.7013 | TRUE | TRUE | 2.8153 | Dec | 31 | 24 | 3.1324 | Oct | 18 | 14 | 21.9064 | -10.2849 | Feb | 9 | 7 | 48.2957 | Sep | 11 | 16
7 | 670H | 600H | 4 | 7.96 | TRUE | Single-pane windows | Thermal Fabric Low Mass | TRUE | 6.2625 | TRUE | TRUE | 4.4087 | Dec | 31 | 24 | 6.035 | Oct | 18 | 14 | 23.0418 | -12.4893 | Feb | 9 | 6 | 59.2611 | Oct | 1 | 15
8 | 680H | 600H | 1.21 | 3.08 | TRUE | Increased insulation | Thermal Fabric Low Mass | TRUE | 1.828 | TRUE | TRUE | 2.1493 | Jan | 1 | 1 | 5.3841 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
9 | 685H | 600H | 4.08 | 5.75 | TRUE | 20-20 Tstat | Thermal Fabric Low Mass | TRUE | 4.9899 | TRUE | TRUE | 3.3441 | Dec | 31 | 24 | 5.8965 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
10 | 695H | 685H | 1.7 | 3.81 | TRUE | Increased insulation + 20-20 Tstat | Thermal Fabric Low Mass | TRUE | 2.6488 | TRUE | TRUE | 2.1493 | Jan | 1 | 1 | 5.9546 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
11 | 600C |  | 5 | 6.83 | TRUE | Base case: low mass | Thermal Fabric Low Mass | TRUE | 5.4974 | TRUE | TRUE | 3.3345 | Dec | 31 | 24 | 5.202 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
12 | 610C | 600C | 2.74 | 6.03 | TRUE | South shade (overhang) | Thermal Fabric Low Mass | TRUE | 4.2041 | TRUE | TRUE | 3.3345 | Dec | 31 | 24 | 4.0138 | Oct | 18 | 14 | 23.0321 | -10.7953 | Feb | 9 | 7 | 51.1766 | Sep | 11 | 16
13 | 620C | 600C | 2.76 | 5.19 | TRUE | East/west windows | Thermal Fabric Low Mass | TRUE | 3.6535 | TRUE | TRUE | 3.3482 | Dec | 31 | 24 | 4.3472 | Jun | 26 | 17 | 21.8983 | -11.3824 | Feb | 9 | 6 | 59.277 | Jun | 26 | 18
14 | 630C | 620C | 1.08 | 4.42 | TRUE | East/west shade | Thermal Fabric Low Mass | TRUE | 2.8183 | TRUE | TRUE | 3.349 | Dec | 31 | 24 | 3.8132 | Jun | 26 | 17 | 20.3623 | -11.5966 | Feb | 9 | 6 | 55.2539 | Jun | 26 | 18
15 | 640C | 600C | 4.44 | 6.86 | TRUE | Thermostat setback | Thermal Fabric Low Mass | TRUE | 5.2424 | TRUE | TRUE | 5.6172 | Nov | 26 | 8 | 5.1537 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
16 | 650C | 600C | 3.46 | 5.88 | TRUE | Night ventilation | Thermal Fabric Low Mass | TRUE | 4.0556 | TRUE | TRUE | 0 | Jan | 1 | 1 | 5.0964 | Oct | 18 | 14 | 17.5238 | -17.1882 | Dec | 31 | 24 | 56.9298 | Oct | 1 | 15
17 | 660C | 600C | 1.91 | 4.33 | TRUE | Low-emissivity windows | Thermal Fabric Low Mass | TRUE | 2.7966 | TRUE | TRUE | 2.8153 | Dec | 31 | 24 | 3.1324 | Oct | 18 | 14 | 21.9064 | -10.2849 | Feb | 9 | 7 | 48.2957 | Sep | 11 | 16
18 | 670C | 600C | 5.05 | 7.67 | TRUE | Single-pane windows | Thermal Fabric Low Mass | TRUE | 6.2039 | TRUE | TRUE | 4.4087 | Dec | 31 | 24 | 6.035 | Oct | 18 | 14 | 23.0418 | -12.4893 | Feb | 9 | 6 | 59.2611 | Oct | 1 | 15
19 | 680C | 600C | 5.13 | 7.7 | TRUE | Increased insulation | Thermal Fabric Low Mass | TRUE | 5.9237 | TRUE | TRUE | 2.1493 | Jan | 1 | 1 | 5.3841 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
20 | 685C | 600C | 7.7 | 10.14 | TRUE | 20-20 Tstat | Thermal Fabric Low Mass | TRUE | 8.8556 | TRUE | TRUE | 3.3441 | Dec | 31 | 24 | 5.8965 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
21 | 695C | 685C | 7.49 | 10.58 | TRUE | Increased insulation + 20-20 Tstat | Thermal Fabric Low Mass | TRUE | 8.8747 | TRUE | TRUE | 2.1493 | Jan | 1 | 1 | 5.9546 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
22 | 900H |  | 1.04 | 2.28 | TRUE | Base case: high mass | Thermal Fabric High Mass | TRUE | 1.7291 | TRUE | TRUE | 2.7632 | Feb | 9 | 6 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
23 | 910H | 900H | 1.56 | 2.3 | TRUE | South shade (overhang) | Thermal Fabric High Mass | TRUE | 1.8708 | TRUE | TRUE | 2.7636 | Feb | 9 | 6 | 2.2678 | Sep | 11 | 14 | 23.3655 | 2.8641 | Feb | 9 | 7 | 39.1504 | Sep | 11 | 15
24 | 920H | 900H | 2.55 | 4.2 | TRUE | East/west windows | Thermal Fabric High Mass | TRUE | 3.4925 | TRUE | TRUE | 2.8461 | Feb | 9 | 6 | 2.9755 | Jun | 26 | 17 | 22.0067 | -1.024 | Feb | 9 | 7 | 44.2716 | Jun | 27 | 17
25 | 930H | 920H | 2.75 | 5.35 | TRUE | East/west shade | Thermal Fabric High Mass | TRUE | 3.9622 | TRUE | TRUE | 2.8706 | Feb | 9 | 6 | 2.5956 | Jun | 26 | 17 | 20.4636 | -1.7937 | Feb | 9 | 7 | 41.6316 | Jun | 27 | 17
26 | 940H | 900H | 0.22 | 1.91 | TRUE | Thermostat setback | Thermal Fabric High Mass | TRUE | 1.359 | TRUE | TRUE | 4.1637 | Feb | 9 | 8 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
27 | 960H | 900H | 2 | 3.4 | TRUE | Sunspace | Thermal Fabric High Mass | TRUE | 2.7727 | TRUE | TRUE | 2.2882 | Feb | 9 | 6 | 1.9923 | Jun | 26 | 17 | 19.7806 | -4.265 | Feb | 9 | 8 | 39.9886 | Jun | 26 | 19
28 | 980H | 900H | -0.61 | 1.28 | TRUE | Increased insulation | Thermal Fabric High Mass | TRUE | 0.28936 | TRUE | TRUE | 2.1659 | Jan | 1 | 1 | 2.9469 | Oct | 18 | 14 | 31.69 | 13.5664 | Jan | 1 | 8 | 50.0512 | Sep | 12 | 15
29 | 985H | 900H | 1.68 | 3.09 | TRUE | 20-20 Tstat | Thermal Fabric High Mass | TRUE | 2.6754 | TRUE | TRUE | 2.7665 | Feb | 9 | 6 | 3.521 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
30 | 995H | 985H | -0.15 | 2.02 | TRUE | Increased insulation + 20-20 Tstat | Thermal Fabric High Mass | TRUE | 1.1941 | TRUE | TRUE | 2.0514 | Jan | 1 | 1 | 3.9217 | Jan | 22 | 13 | 31.6573 | 12.7653 | Feb | 9 | 7 | 52.2454 | Sep | 12 | 14
31 | 900C |  | 2.35 | 2.6 | TRUE | Base case: high mass | Thermal Fabric High Mass | TRUE | 2.3568 | TRUE | TRUE | 2.7632 | Feb | 9 | 6 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
32 | 910C | 900C | 2 | 0.86 | TRUE | South shade (overhang) | Thermal Fabric High Mass | TRUE | 1.536 | TRUE | TRUE | 2.7636 | Feb | 9 | 6 | 2.2678 | Sep | 11 | 14 | 23.3655 | 2.8641 | Feb | 9 | 7 | 39.1504 | Sep | 11 | 15
33 | 920C | 900C | 2.43 | 3.08 | TRUE | East/west windows | Thermal Fabric High Mass | TRUE | 2.4756 | TRUE | TRUE | 2.8461 | Feb | 9 | 6 | 2.9755 | Jun | 26 | 17 | 22.0067 | -1.024 | Feb | 9 | 7 | 44.2716 | Jun | 27 | 17
34 | 930C | 920C | 1.24 | 2.64 | TRUE | East/west shade | Thermal Fabric High Mass | TRUE | 1.8822 | TRUE | TRUE | 2.8706 | Feb | 9 | 6 | 2.5956 | Jun | 26 | 17 | 20.4636 | -1.7937 | Feb | 9 | 7 | 41.6316 | Jun | 27 | 17
35 | 940C | 900C | 2.16 | 2.66 | TRUE | Thermostat setback | Thermal Fabric High Mass | TRUE | 2.3145 | TRUE | TRUE | 4.1637 | Feb | 9 | 8 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
36 | 950C | 900C | 0.35 | 1.04 | TRUE | Night ventilation | Thermal Fabric High Mass | TRUE | 0.57218 | TRUE | TRUE | 0 | Jan | 1 | 1 | 2.2443 | Sep | 11 | 14 | 14.7053 | -12.357 | Dec | 31 | 24 | 35.4683 | Jun | 26 | 18
37 | 960C | 900C | 0.54 | 1.33 | TRUE | Sunspace | Thermal Fabric High Mass | TRUE | 0.80103 | TRUE | TRUE | 2.2882 | Feb | 9 | 6 | 1.9923 | Jun | 26 | 17 | 19.7806 | -4.265 | Feb | 9 | 8 | 39.9886 | Jun | 26 | 19
38 | 980C | 900C | 3.44 | 4.01 | TRUE | Increased insulation | Thermal Fabric High Mass | TRUE | 3.5566 | TRUE | TRUE | 2.1659 | Jan | 1 | 1 | 2.9469 | Oct | 18 | 14 | 31.69 | 13.5664 | Jan | 1 | 8 | 50.0512 | Sep | 12 | 15
39 | 985C | 900C | 5.87 | 6.78 | TRUE | 20-20 Tstat | Thermal Fabric High Mass | TRUE | 6.588 | TRUE | TRUE | 2.7665 | Feb | 9 | 6 | 3.521 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
40 | 995C | 985C | 6.5 | 7.93 | TRUE | Increased insulation + 20-20 Tstat | Thermal Fabric High Mass | TRUE | 7.2844 | TRUE | TRUE | 2.0514 | Jan | 1 | 1 | 3.9217 | Jan | 22 | 13 | 31.6573 | 12.7653 | Feb | 9 | 7 | 52.2454 | Sep | 12 | 14
41 | 600FFH | 600H |  |  | TRUE | Base | Free-float Low Mass | TRUE | 4.3369 |  |  | 3.3345 | Dec | 31 | 24 | 5.202 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
42 | 650FFH | 650H |  |  | TRUE | Night ventilation | Free-float Low Mass | TRUE | 0 |  |  | 0 | Jan | 1 | 1 | 5.0964 | Oct | 18 | 14 | 17.5238 | -17.1882 | Dec | 31 | 24 | 56.9298 | Oct | 1 | 15
43 | 680FFH | 680H |  |  | TRUE | Increased insulation | Free-float Low Mass | TRUE | 1.828 |  |  | 2.1493 | Jan | 1 | 1 | 5.3841 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
44 | 900FFH | 900H |  |  | TRUE | Base | Free-float High Mass | TRUE | 1.7291 |  |  | 2.7632 | Feb | 9 | 6 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
45 | 950FFH | 950H |  |  | TRUE | Night ventilation | Free-float High Mass | TRUE | 0 |  |  | 0 | Jan | 1 | 1 | 2.2443 | Sep | 11 | 14 | 14.7053 | -12.357 | Dec | 31 | 24 | 35.4683 | Jun | 26 | 18
46 | 980FFH | 980H |  |  | TRUE | Increased insulation | Free-float High Mass | TRUE | 0.28936 |  |  | 2.1659 | Jan | 1 | 1 | 2.9469 | Oct | 18 | 14 | 31.69 | 13.5664 | Jan | 1 | 8 | 50.0512 | Sep | 12 | 15
47 | 600FFC | 600C |  |  | TRUE | Base | Free-float Low Mass | TRUE | 5.4974 |  |  | 3.3345 | Dec | 31 | 24 | 5.202 | Oct | 18 | 14 | 24.7661 | -10.795 | Feb | 9 | 7 | 58.6399 | Oct | 1 | 15
48 | 650FFC | 650C |  |  | TRUE | Night ventilation | Free-float Low Mass | TRUE | 4.0556 |  |  | 0 | Jan | 1 | 1 | 5.0964 | Oct | 18 | 14 | 17.5238 | -17.1882 | Dec | 31 | 24 | 56.9298 | Oct | 1 | 15
49 | 680FFC | 680C |  |  | TRUE | Increased insulation | Free-float Low Mass | TRUE | 5.9237 |  |  | 2.1493 | Jan | 1 | 1 | 5.3841 | Jan | 22 | 14 | 31.9203 | -4.0292 | Feb | 9 | 7 | 65.1199 | Oct | 1 | 16
50 | 900FFC | 900C |  |  | TRUE | Base | Free-float High Mass | TRUE | 2.3568 |  |  | 2.7632 | Feb | 9 | 6 | 2.8659 | Sep | 11 | 14 | 24.8647 | 2.9426 | Feb | 9 | 7 | 42.9617 | Sep | 12 | 14
51 | 950FFC | 950C |  |  | TRUE | Night ventilation | Free-float High Mass | TRUE | 0.57218 |  |  | 0 | Jan | 1 | 1 | 2.2443 | Sep | 11 | 14 | 14.7053 | -12.357 | Dec | 31 | 24 | 35.4683 | Jun | 26 | 18
52 | 980FFC | 980C |  |  | TRUE | Increased insulation | Free-float High Mass | TRUE | 3.5566 |  |  | 2.1659 | Jan | 1 | 1 | 2.9469 | Oct | 18 | 14 | 31.69 | 13.5664 | Jan | 1 | 8 | 50.0512 | Sep | 12 | 15

## summary_relative
n_have | n_want
17 | 17
19 | 18

## summary_absolute
n_have | n_want
19 | 17
21 | 18